### CodeAlpha — Automation System Design

Task 3: Smart Home Lighting System

Submitted by: Muhammad Ahmer Khan
Date: 2026-10-03

#### 1. Introduction

Smart home automation is transforming the way we interact with our living spaces. The Smart Home Lighting System is an automated system designed to control lighting based on motion detection, enhancing energy efficiency and user convenience. This system uses a PIR (Passive Infrared) motion sensor to detect human presence and automatically controls the lights.

The system is designed to be energy-efficient, cost-effective, and easily deployable in residential and commercial environments.

#### 2. System Components

| Component | Description |
| --- | --- |
| PIR Motion Sensor | Detects human motion using infrared radiation |
| Arduino Uno | Microcontroller that processes sensor data |
| Relay Module | Switches the light ON/OFF |
| Smart Bulb | LED light that can be controlled |
| WiFi Module | Connects system to IoT platform |
| Power Supply | Provides power to the system |

#### 3. Working Principle

The Smart Home Lighting System operates as follows:

Step 1: The system starts and initializes all components.

Step 2: The PIR motion sensor continuously monitors for human motion.

Step 3: When motion is detected, the sensor sends a signal to the Arduino.

Step 4: The Arduino activates the relay, turning ON the light.

Step 5: The system waits for 5 minutes.

Step 6: If motion is still detected, the light remains ON.

Step 7: If no motion is detected, the light turns OFF.

Step 8: The system returns to monitoring mode.

#### 4. Flowchart Explanation

The flowchart represents the logical flow of the system:

| Step | Action | Condition |
| --- | --- | --- |
| 1 | Start | — |
| 2 | Motion Sensor Detect | — |
| 3 | Motion Detected? | Yes/No |
| 4 | Light ON | Motion Detected = Yes |
| 5 | Light OFF | Motion Detected = No |
| 6 | 5 Minutes Wait | After Light ON |
| 7 | Motion Still? | Yes/No |
| 8 | Light ON (Continue) | Motion Still = Yes |
| 9 | Light OFF | Motion Still = No |

#### 5. Applications

- Residential: Homes, apartments, corridors

- Commercial: Offices, hotels, shopping malls

- Industrial: Warehouses, factories

- Public: Restrooms, staircases, parking areas

#### 6. Advantages

- Energy Efficient: Lights turn OFF automatically when no one is present

- Cost Effective: Reduces electricity bills

- Convenient: No manual switching required

- Scalable: Can be integrated with IoT platforms

- Safe: Reduces the risk of lights being left ON

#### 7. Conclusion

The Smart Home Lighting System is an efficient automation solution that combines motion sensing technology with intelligent control. It provides significant energy savings and enhances user convenience. Future enhancements can include voice control, mobile app integration, and smart scheduling.

Submitted by: Muhammad Ahmer Khan
Institution:UET-Lahore
Date: 2026-10-03